## Slide 1
Neo Matrixx
Velammal College of Engineering & Technology
Madurai
PS ID: UP1263
Organization Name:
Team Members:
Shivani Suvatheka S
Al Mohamed Bilal A Raaja Kartikeya N S
Dinesh S
Ammu Nishitha S
Vishal Jonathan A
Team Mentors:
Mr V Karthick
Dr P Karthikeyan
#SIH Hardware Edition – GRAND FINALE!!!

## Slide 2: Wireless pods & disposable patches to monitor the vital parameters of NEonates
- Taking the medical field to the next level using innovation & technology

## Slide 3: Problem statement
To design and develop wireless pods & disposable patches to monitor the vital parameters of neonates
Category | Hardware
PS Number | UP1263
Organization | GE Healthcare
Domain Bucket | MedTech/BioTech/HealthTech
Team Name | Neo Matrixx

## Slide 4: Developed idea before the final product
Design and develop wireless pods and disposable patches to monitor vital parameters of the neonate in NICU.
Suitable sensors are selected to monitor the vital parameters according to the clinical needs and specifications.
Vital parameters: Temperature, heart rate, SpO2, pulse rate, ECG, and sleep apnea

## Slide 5: Progress - Day 1 (25.08.22)
Task Assigned | Struggles Faced | Outcome
Reconstruct the previously designed model before the 2nd round of filtration | Time Consuming, Informed not to bring the previously prepared model for the competition | Successfully reconstructed the previous module, Reduce & integrate the number of sensors that can monitor several parameters

## Slide 6: Continued…
MPU6050
AD8232
NodeMCU ESP8266

## Slide 7: Progress – day 2 (26.08.22)
Task Assigned | Struggles Faced | Outcome
Obtain output for temperature & ECG | Error Handling in Code – A large number of errors compared to what we expected!!! | Obtained the output for temperature & ECG
Design a Printed Circuit Board(PCB) with the least dimensions as far possible | Limited knowledge of PCB designing, Absence of holes in PCB(after printing), Copper in the rest of the parts except the connection was not removed, Time consuming | Successfully designed a PCB board referring YouTube videos & EasyEDA software & Gerber file was generated

## Slide 8
Output: ECG & Temperature

## Slide 9: References for ecg
European Heart Journal 2002

## Slide 10: Placement of ecg leads on neonates

## Slide 11: Progress – day 3 (27.08.22)
Task Assigned | Struggles Faced | Outcome
Design & develop a case for the POD using 3D Printing | A large number of designs were to be printed by other teams, Time consuming | Obtained the casing for the POD
Design & develop the miniature version of the product before placing it in the casing(POD) | Lack of working space due to flooding with rainwater | Developed the miniature version of the product the next day

## Slide 12: Structure of the pod
Dimensions of the pod (Feet): 60 * 30 * 20mm
Dimension of the pod (Chest): 85 * 40 * 20mm

## Slide 13: Continued…
POD developed using 3D Printing

## Slide 14: Progress – day 4 (28.08.22)
Task Assigned | Struggles Faced | Outcome
Obtain output for SpO2, & an overall result analysis chart | Errors in coding | Successfully eliminated the errors in the code & obtained accurate results for SpO2, presented the overall result analysis chart as expected
Validation | Unable to perform clinical trial for validating ECG readings due to heavy rains | Validated temperature, SpO2 & pulse rate

## Slide 15
SpO2 & Heart Rate Output

## Slide 16: Product validation
Parameter | Normal Range | Instrument Reading | Prototype Reading
Temperature | 35.5 – 36.5 | 36.3 | 35.08
SpO2 | 92 – 100% | 98 | 100
Heart Rate | 120 – 160bpm | 88 | 86

## Slide 17
Temperature Reading - Validation

## Slide 18
ECG Graph Readings Obtained
Actual ECG Graph

## Slide 19: Progress – day 5 (29.08.22)
Task Assigned | Struggles Faced | Outcome
Incorporate sleep apnea from the data obtained from the sensors we are using already | Work on two methods to incorporate sleep apnea | Validation under process
Present the final assembled product with the casing & the respective output | Taking out leads from the pod to measure the parameters | Successfully submitted the working model!!!

## Slide 20: Sleep apnea
A type of sleep disorder - breaks in the respiratory breathing process/ occurrence – uncommon/superficial breathing – sleep – sleep apnea disorder
Last few years – various signals – detection of sleep apnea – ECG Signal recordings – more effective – diagnosis process – efficient
Cyclic variations – duration – heart period – RR Intervals of ECG – reported – associated with sleep apnea disorders.
Reference: International Journal of Innovative Research in Science, Engineering & Technology

## Slide 21: BOM
Components Used | Quantity | Rate per item
NodeMCU ESP8266 | 2 | 500/-
AD8232 | 1 | 600/-
MPU6050 | 1 | 900/-
MAX30100 | 1 | 500/-
Total Component Cost of the Unit: 3000/-
Other costs: 100/-

## Slide 22: Circuit diagram of the pod to be placed in the feet
Connections:
Ground -----> Ground
Vin ----> 3V3
D0 ----> INT
D1 ----> SCL
D2 ----> SDA

## Slide 23: Circuit diagram of the pod to be placed on the chest
Connections:
VCC ----> 3V3; Negative Terminal ----> Ground
Ground ----> Ground; Positive Terminal ----> Vin
D4 ----> LO-
Output ----> A0
D5 ----> LO+
SCL ----> D1
SDA ----> D2

## Slide 24: Business plan
Angel Vendors

## Slide 25: External References
Dr Charles, Anesthetist
Dr Jaya Balaji, Pediatrician, Velammal Hospital, Madurai